## General
Table 1
| Questions | Answer Type | Definition | Link/definition
| Are you welding, cutting, grinding, and/or using an open flame? | Yes/No | Yes
| Are you W/C/G/OF within 35 feet of combustible materials? | Yes/No | No
| Can W/C/C/OF be moved to a designated area? | Yes/No | Yes
| Can combustible material be moved or covered? | Yes/No | No
| Are you W/C/G/OF in a hazardous or combustible atmosphere? | Yes/No | Yes
| —> Will W/C/G/OF create a hazardous atmosphere requiring ventilation? | Yes/No
| Is W/C/G/OF being performed in a confined space? | Yes/No | Yes

## Gas Monitor
Table 1
| Question | Answer Type | Definition | Link/definition
| Do you have a calibrated four gas monitor? | Yes/No | No
| What is the model and serial number? | Drop down/Free text
| Date of last calibration and bump test? | Free Text
| Continuous or periodic monitoring? | Radio tab
| If periodic, sliding scale to determine intervals | radio tab

## Combustible Mat._Guards
Table 1
| Questions | Answer Type | Definition | Link/definition
| Guards used to protect combustible material? | Free text/Drop down
| Guards used to control sparks? | Free text/Drop down
| Ventilation guards | Free text/Drop down

## Fire Watch
Table 1
| Questions | Answer Type | Definition | Link/definition
| Can a fire, other than a minor fire, occur as a result of welding or cutting? | Yes/No
| If yes, list the name of the person acting as fire watch | Free Text
| Is appropriate fire extinguishing equipment available to the fire watch? | Yes/No
| Has the fire extinguishing equipment been inspected regularly? | Yes/No
| Has the Fire Watch been trained on how to use this equipment? | Yes/No
| Will the Fire Watch have any other duties in addition to being fire watch? | Yes/No | Yes

## Confined Spaces
Table 1
| Questions | Answer Type | Definition | Link/definition
| FROM GENERAL - Is W/C/G/OF being performed in a confined space? | Yes/No | Yes
If yes, loop back to gas monitor tab
| If yes, does this space meet the definition for a permit required confined space? | Yes/No | Yes
If yes, loop to confined space permit section
| If applicable, what ventilation measures are being used? | Yes/No/n/a

## PPE
Table 1
| Questions | Answer Type | Definition | Link/definition
| What PPE is being utilized for this work? | Drop down menu - FRC, face shield, gloves, apron, etc.

## Authorization
Table 1
| Questions | Answer Type | Definition | Link/definition
| Has work been authorized prior to start? | Yes/No
| If yes, list name of person | Free text